Location: St. Machar’s Ranfurly Church Kilbarchan Road Bridge of Weir PA113EG FIRE SAFETY RISK ASSESSMENT

Introduction

This form is designed to assist you to complete a Fire Risk Assessment for your church.

- A risk is defined as "the potential for a fire to occur (likelihood) and cause injury, death, or damage (impact).

A  Fire Risk Assessment is a methodical review of your church premises, the activities carried on there and the likelihood that a fire could start and cause harm to those in and around the premises.

The requirements relating to general fire safety are covered by the Fire (Scotland) Act 2005, supported by the Fire Safety (Scotland) Regulations 2006.If you have responsibility for your buildings through having control of them you are required to undertake a fire safety risk assessment. It shares the same approach as health and safety risk assessments and can be carried out either as part of an overall risk assessment or a separate exercise.

Based on the findings of the assessment you should take appropriate action as necessary. You must also review your fire risk assessment and regularly update it.

The fire safety risk assessment process involves evaluating and keeping under review, the existing fire safety measures to establish whether they are adequate or if more requires to be done. It is essentially a matter of applying common sense in consideration of the premises for which you have responsibility and identification of anything which could cause harm from fire.

There are 5 Steps in the Process and this form takes you through each of them: 1) identify the people at risk; 2) Identify the fire hazards; 3) evaluate the risk and decide if the existing fires safety measures are adequate; 4) record the fire safety risk assessment actions and information; 5) review the fire safety risk assessment regularly.

Fire safety law requires information to be recorded where five or more employees are employed; or the premises are subject to licensing or registration; or an alteration notice has been issued by an enforcing authority requiring this. We would however always recommend it is recorded in writing and this form can be used for that purpose.  If however you do not feel sufficiently confident/competent to undertake the fire safety risk assessment you may wish to commission a fire safety specialist.

Emergency Plan

The findings of the fire safety risk assessment should be used to prepare an emergency plan. The plan should set out, what to do in case of fire, identify the escape routes, where to assemble and how to contact the Fire and Rescue Service. The fire safety equipment and any equipment that provides a possible ignition source (e.g. cooking, electrical appliances, fixed wiring etc.) should be regularly maintained to reduce the chance of fire and the risk to people. Frequent checks should also be made to make sure that the storage of materials, especially flammable materials, does not increase the risk of fire or prevent the use of escape routes. It is important that all persons using the church know what to do if a fire does occur. To make sure that the emergency plan works regular fire drills should be carried out.

The 5 Step Guide to Fire Safety Risk Assessment

| 1 | Identify people at risk |
| --- | --- |
| 2 | Identify the fire hazards |
| 3 | Evaluate, remove, reduce and protect from risk |
| 4 | Record, plan, inform, instruct and train |
| 5 | Review |

| FIRE SAFETY RISK ASSESSMENT |  |  |
| --- | --- | --- |
| DETAILS |  |  |
| Church Name: | St. Machar’s Ranfurly Church of Scotland |  |
| Premises Name: | Church and Hall |  |
| Address: | - Kilbarchan Road Bridge of Weir PA11 3EG |  |
| Responsible Person: | Ian A. Hales |  |
| Position: | Property Convenor |  |
| Date of Assessment: | 20th August 2020 |  |
| Carried out by: | Ian A. Hales and Bill Robb |  |
| Position: | Property Convenor and previous property convenor respectively |  |

DESCRIPTION OF THE CHURCH

Step 1 - Identify People at Risk ( & activities undertaken)

| Brief details: | Normal use of Church each Sunday for communal worship -usual average N/E 100 persons Use of Hall midweek for various groups e.g. guides, brownies etc. N/E average 75 persons |
| --- | --- |

| Use of the Premises: | Church - a place of worship Hall - affiliated group assemblies i.e. guides, youth church etc. |  |  |
| --- | --- | --- | --- |
| NUMBERS USING THE BUILDINGS |  |  |  |
| Times in Use |  |  | a.m. Sunday and various midweek evenings |

| Total Number of Employees & Activities: |  | 3 – cleaning and maintenance |  |  |
| --- | --- | --- | --- | --- |
| Capacity & Maximum Number of Persons Present at a Church Meeting or Service: |  | 400 persons (Church) |  |  |
| Maximum Number of Persons Present at a Club or Concert or other activity: |  | 120 persons (Hall) |  |  |

| OCCUPANTS/USERS ESPECIALLY AT RISK |  |  |
| --- | --- | --- |
| Sleeping Occupants: |  | None |
| Disabled Occupants/Users: |  | Very few |
| Lone Workers: |  | 1 Cleaner |
| Young Persons: |  | Only allowed when supervised |
| Contractors: |  | Always accompanied by Church Officer or responsible person |

| Step 2 - Identify Fire Hazards (Sources of Ignition) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type |  |  |  | Comment |  |  | Are existing control measures sufficient? |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical appliances and wiring – what is the condition and inspection regime like, including leads, fuses, fixed wiring, lighting, projection, audio & office equipment, and mains switch gear? (Is your Fixed Wiring in good condition and tested? Date of last test? PAT (portable appliance testing completed)? Date of last test? Users requested to undertake visual inspection before using? Equipment subject to a regular formal inspection? Mains switch gear modern and in good condition?) |  |  |  | Good Yes 14/5/19 9/11/18 |  |  |  |  |  |  | YES √ √ √ √ |  |  |  |  | NO |  |  |  |
| Cooking on the premises – what type of equipment do you have? (Any deep fat frying – are ducts & filters regularly cleaned; steam coffee making machine- is it subject to statutory inspection; do you have any gas cylinders are they stored outside securely; is the mains gas isolation valve accessible?) |  |  |  | NO YES No Gas Cylinders |  |  |  |  |  |  | YES √ √ √ |  |  |  |  | NO |  |  |  |
| Heating & Ventilation Appliances – what type of equipment do you have? (If you have gas fired water and heating boilers are they regularly maintained and inspected? Do you have any portable heating? Is your heating guarded where needed? Are areas adequately ventilated? Is the boiler room locked and free from clutter and not used for storage?) |  |  |  | YES No Portable YES |  |  |  |  |  |  | YES √ √ √ |  |  |  |  | NO |  |  |  |
| Naked Flames – do you use candles, oil lamps or incense? (Stored satisfactorily and always extinguished following use?) |  |  |  | NO |  |  |  |  |  |  | YES √ |  |  |  |  | NO |  |  |  |
| Smoking – is it prohibited and signs displayed? |  |  |  | NO Smoking |  |  |  |  |  |  | YES √ |  |  |  |  | NO |  |  |  |
| Housekeeping & Storage – are areas clean and tidy free from clutter? (Are the buildings and surrounds free from defects, clean and tidy? Do you have a clear and documented process for reporting defects and remedying them? What items do you store? Are they combustible? Are they stored under the correct conditions? Do you have any areas where there is an accumulation of items? Any paint or thinners or other inflammable items e.g. cleaning products?) |  |  |  | YES YES NONE |  |  |  |  |  |  | YES √ √ √ |  |  |  |  | NO |  |  |  |
| Combustible Materials – does your furniture and any furnishings meet the regulations? (What if any other combustible materials do you have – soft play area with foam materials, crash mats, etc; paints, thinners, gas bottles; wood; etc? Are they accessible and stored correctly? Christmas trees, decorations, lights at that time of year?) |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |  |
| Use of Contractors and Volunteers – to undertake work at the premises. (Do you discuss how the work will be completed? Do you undertake a risk assessment? What procedures are in place when working at height, or depth, using heat- do you ask to see a method statement, is a hot work permit used? Is there are process for informing contractors and volunteers of hazards?) |  |  |  | YES to all where appropriate |  |  |  |  |  |  | YES √ |  |  |  |  | NO |  |  |  |
| Arson – what precautions do you take to prevent malicious fire? (Is there good security to doors and windows; secure storage of bins/skips adjacent to the building; letterboxes have internal metal box to contain any burning material pushed through; extent and appropriateness of security lighting, boundary fencing, alarms and CCTV? What are your keyholding arrangements?) |  |  |  | YES Security Lighting fitted Key holding by authorised personnel only |  |  |  |  |  |  | YES √ √ √ |  |  |  |  | NO |  |  |  |
| Lightning – is the conductor subject to inspection and regular testing? |  |  |  | YES (part of annual roof inspection and repair) |  |  |  |  |  |  | YES √ |  |  |  |  | NO |  |  |  |
| Other Sources |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | What needs to be done to make each situation safe? |  |  | Action required by whom |  |  |  | Date due |  |  |  |  | Date complete |  |  |  |  |  |
|  |  | There are no naked flames |  |  | N/A |  |  |  | - |  |  |  |  | - |  |  |  |  |  |

Any Additional Information:

| Step 3 ~ Evaluate, Remove, Reduce and Protect From Risk |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Question |  |  |  |  |  |  |  | Comment |  |  |  |  |
| Are ignition sources controlled to reduce the chances of fire? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are combustible materials kept away from ignition sources? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are all windows and openings closed last thing at night? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Do you have a fire alarm? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| What type of fire alarm? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is your fire alarm system adequate for your premises? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Will everybody be warned if the fire alarm operates? |  |  | √ |  |  |  |  |  |  |  |  |  |
| If you do not have a fire alarm how will everybody we warned? |  |  |  |  |  |  |  |  |  |  |  |  |
| Do you have any smoke alarms? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Where are your smoke alarms located? |  |  |  |  |  |  |  |  |  |  |  |  |
| Can everyone escape without assistance? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Is escape from fire available in more than one direction? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are all fire exits easily identified by the correct signs? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are escape routes free from obstruction and storage? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are all doors on escape routes easily opened without a key? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Do all doors on escape routes open in the direction of escape? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Can everyone escape in a reasonable time? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Do you have emergency lighting? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Is the lighting adequate to illuminate circulation routes? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Do you have fire fighting equipment? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Is it serviced annually? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Is the fire fighting equipment adequate for the risks present? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are fire doors in good condition and labelled fire door keep shut? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are housekeeping and general waste management adequate? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are security arrangements sufficient to prevent access? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| Are measures adequate to prevent the incidents of arson? |  |  | √ |  | NO |  |  |  |  |  |  |  |
| What are your keyholding arrangements? |  |  |  |  |  |  |  |  |  |  |  |  |
| Can the fire service easily get to your premises? |  |  | √ |  | NO |  |  |  |  |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |

|  | What needs to be done to make each situation safe? |  | Action required by whom |  |  | Date due |  | Date complete |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Step 4 ~ Record, Plan, Inform, Instruct and Train |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| You should record your fire safety arrangements – this includes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have you made an emergency plan? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
| Have you provided fire instruction and training to employees and volunteers? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
| Have you provided fire safety instruction/information to those letting your premises? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
| Are there records of fire drills to test your training and emergency plan? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
| Are there records of maintenance on all fire safety measures and equipment? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
| Have you recorded the significant findings of this assessment? |  |  |  |  |  |  |  |  | √ |  |  |  |  | NO |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  | Action required by whom |  |  |  |  | Date due |  |  |  | Date complete |  |  |  |

| Step 5 ~ Review |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Your fire safety risk assessment must be kept up to date |  |  |  |  |  |  |  |  |
| Date of next review It is recommended that you review your fire safety risk assessment regularly (recommended every 12 months) OR if you make changes to the layout of your premises, any changes to work processes, significantly increase the amount of combustible materials stored or displayed or sources of ignition, change your opening hours (e.g. to include night time for rough sleepers, etc) or any failures in your fire safety precautions then you should review your fire safety risk assessment. |  |  |  |  | 20 August 2021 |  |  |  |

| References | Health & Safety Executive Practical fire Safety Guidance Church of Scotland Insurance Services Ltd (the web site contains a number of information sheets which will also be of assistance when considering fire safety) | Health & Safety Executive http://www.hse.gov.uk/toolbox/fire.htm Scottish Government Sector Specific at http://www.scotland.gov.uk/Topics/Justice/public-safety/Fire-Rescue/FireLaw/FireLaw/SectorSpecificGuidance Guidance Church of Scotland Insurance Services Limited http://www.cosic.co.uk/guidelines |
| --- | --- | --- |
| Contact Information |  |  |

The information provided in this form is based on our understanding of current law and practice. The Church of cannot accept any liability whatsoever for any errors or omissions which may result in injury, loss or damage, including consequential or ﬁnancial loss. It is the responsibility of the congregation or any other person to ensure that they comply with their statutory obligations and any interpretation or implementation of the above is at the sole discretion of the congregation or other party who may read this information.

PREMISES

SUMMARY FIRE SAFETY ACTION PLAN

| Each item should be allocated a priority as follows: - |  |
| --- | --- |
| Priority 1: | Needs attention immediately |
| Priority 2: | Needs attention within 1 month |
| Priority 3: | Needs attention within the next 6 months |
| Priority 4: | Needs attention within the next 12 months |

| No | Action Required | By Whom |  | Due Date | Date complete | Priority |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |